BCWS FIELD TESTING AND MAINTENANCE REPORT FOR BACKFLOW PREVENTION ASSEMBLIES

PASSED			THIS FORM MUST BE FILLED OUT COMPLETELY	 FAILED⁪

DATE: _______________  ACCOUNT NAME/BUSINESS NAME: ____________________________________

SERVICE ADDRESS: __________________________________________________________________________

ACCOUNT NO.: ___________________________________ METER NO.:  ______________________________

ASSEMBLY NAME: _______________ MODEL NO.: __________ SIZE: _________ SERIAL NO.: ________

ASSEMBLY LOCATION (SPECIFY):____________________________________________________________

BACKFLOW PREVENTION ASSEMBLY TYPE:          PVB _____ DCVA _____ RP _____ AIR-GAP _____

|  | Check Valve No. 1 | Check Valve No. 2 | Relief Valve or Air-Inlet Valve | #1 Shutoff Valve | #2 Shutoff Valve |
| --- | --- | --- | --- | --- | --- |
| Test Before Repairs | (Mark One) Leaked __________ Closed Tight ______ | (Mark One) Leaked ___________ Closed Tight _______ | Opened At Differential Pressure _________PSI | #1 Gate or Ball (Circle One) | #2 Gate or Ball (Circle One) |
|  | Differential Pressure _____________PSI | Differential Pressure ______________PSI |  | (Mark One) Leaked _________ Closed Tight _____ | (Mark One) Leaked _________ Closed Tight _____ |
| Repairs and New Materials |  |  |  |  |  |
| Test After Repairs | (Mark One) Leaked ___________ Closed Tight ______ | (Mark One) Leaked ____________ Closed Tight _______ | Opened At Differential Pressure _________PSI | #1 Gate or Ball (Circle One) | #2 Gate or Ball (Circle One) |
|  | Differential Pressure _____________PSI | Differential Pressure _____________PSI |  | (Mark One) Leaked _________ Closed Tight _____ | (Mark One) Leaked _________ Closed Tight _____ |

TESTER AFFIDAVIT

Test must be a general, limited, or inspector tester duly certified by the South Carolina Department of Health and Environmental Control and approved by BCWS.  Repair materials used must be original manufacturer’s parts.  I have provided a copy of this report to the customer and am responsible for sending the original passing or failing report to BCWS Cross Connection Control Department within (7) days of testing the assembly.  I hereby certify that the above testing and/or repair was performed by myself, ______________________________ and the information is correct. Please send email to: dan.scantland@berkeleycountysc.gov

CHECK CATEGORY:  GENERAL _______ LIMITED _______ INSPECTOR TESTER _______ DHEC CERT. NO. ____________

COMPANY NAME: _______________________________________________________ COMPANY TELEPHONE: _______________

TESTED BY (PRINT) _______________________________________ DATE: ____________________ TIME: ____________________ METHOD OF TESTING: ____________________________________ TEST KIT USED: _____________________________________ REPAIRED/TESTED BY: _________________________________ DATE: ____________________ TIME: ___________________ INSTALLED BY: ___________________________________________ DATE: ____________________ TIME: ___________________  IS THIS A NEW ASSEMBLY? IF YES, CHECK BLOCK AND PROVIDE MAKE, MODEL, SIZE AND SERIAL NO. OF ASSEMBLY REMOVED: __________________________________________________________________________________________